CHEMISTRY  -     Model paper

THREE YEAR B.SC dEGREE EXAMINATION

THIRD YEAR EXAMINATIONS

SEMESTER -VI

Paper  VIII A-2 INSTRUMENTAL METHODS OF ANALYSIS

Time :   3hrs                                                                                                   Max .Marks : 75

PART- A

Answer any five of  the following .

Each question carries FIVE marks                      5 X 5 =25 M

- Discuss any five types of analytical methods based on measurement property.

- Write notes on the advantages of Fourier transform (FTR).

- Discuss any three applications of absorption spectra.

- Discuss the factors which affect column efficiency.

- Write short notes on resolution.

- Give the principle of liquid chromatography and explain its advantages.

- Give a brief account of photomultipliers.

- Write notes onVibrational spectrum.

PART- B

Answer ALL the questions

Each question carries ten marks                                10 x 5 =50 M

- Write the classification of instrumental methods of analysis.

Or

Define errors. Explain different types of errors .How to determine

Expression for errors.

- What are the different types of detectors used in the detection of signal?

Or

How the separation of spectrum occurs in IR based on wavelength dispersion?

- Explain the construction and working of single and double beam spectrophotometers.

Or

What are the different hard ware techniques for the enhancement of signal to

Noise ratio (S/N) ?

- What is the principle and working of Gas Chromatography .  Explain diagrammatically.

Or

Explain briefly electrophoresis . How it is used in DNA analysis.

- How a gaseous molecule is converted into Ion based on chemical ionization.

Or

Explain the separation of ions based on

- Mass to charge ratio

b)  Time of flight.

$$$$$$$$$$